## Sheet1
Job Number | Serial Number | Finished Date | Model | Location Name | Notes | Line Items | Line Items Per Unit Ex. Gst | Total
SIL-1294659R | HA210613001 | 28/06/2024 2:16:54 PM | ActiveCore BME1200N-A 2 door Refrigerator | Stockman Hotel | 06/06/2024 - JON & NICK Attended site Met with staff Located 2 door slope fridge in kitchen Discussed issues with staff Staff informed of broken Evap fan blade Skope delivered only fan motors not blades Let site contact know that a return is required Requires replacement fan blade Skope will send parts out 28/06/2024 JON & NICK Attended site Met with staff Located 2 door skope fridge Remove unit from underneath case Removed cover of unit Pulled Evaperator blade off of motor Replaced with new fan blade - supplied by Skope Cleaned condenser coil and wiped down system Reassembled unit Put refrigeration unit back in to place Tested operation Monitored temp down to 1 degree Packed tools left site Returned to site before leaving Texas Checked condition of fan Monitored temp back down to 1 degree Packed tools left site | Labour,Extra Labour,Travel Distance,evap fan motor,fan blade,Sundries | 540.0000,467.5000,600.0000,0.0000,0.0000,20.0000 | 1790.25
SIL-1136712R | HA220110129 | 20/06/2023 11:41:00 AM | TMF1000 - ActiveCore Freezer | Ingenia Gardens Sovereign | found compressor noisy internally, not pumping, to be replaced. compressor is still covered by warranty, reattend site and pickup freezer to workshop Remove and replace faulty compressor, weld in new drier, weld in new schreader access valve, pressurize with nitrogen, leak test ok, vac out system, run and recharge with r290 refrigerant, run and observe operation,freezer is working ok now. Ready for return to client. Return freezer back to Ingenia Gardens kitchen, reinstall unit back onto top of freezer, run unit working ok. now temperature is recovering well. Recalled back to freezer now making loud annoying vibration noise, found to be being caused by compressor inverter electrical box, eliminate noise from unit, observe cycle of operation all working | Labour,Compressor,1/4 Drier,Access Fiting copper T & Fl nut w/-bonnet,NItrogen,R290 | 1320.0000,0.0000,42.0000,17.6000,24.6000,75.6000 | 1627.78
SIL-1306498R | RCPG500-06096 | 30/06/2024 3:24:48 PM | Skope | Pindara Private Hospital | Leak tested cyclone unit and found leaking on evaporator on distributor lines. Obtained new evaporator and changed. Also changed drier and nitrogen tested system. O.K. Evacuated and gas charged system and ran and tested. Serviced cabinet and returned to customer. | Call Out,Labour,Access Valve,Nitrogen,Solder/Oxy,Drier,Evaporator Coil,Frieght,Consumables,Gas | 90.0000,720.0000,15.0000,15.0000,28.0000,38.0000,420.0000,25.0000,15.0000,88.0000 | 1599.4
SIL-1299491R | A220310928 | 21/06/2024 12:41:22 PM | PG250 | Figlia | Brian Muyangwa (14/06/2024) - Work Note Remove internal panels to gain access to leaking evaporator and removed from cabinet. Installed new evaporator coil. Replaced filter dryer. Topped up refrigerant charge. Tested operation ok. | Call Out,Labour,Extra Labour,CLS1705EC,R404A refrigerant,Filter Dryer 1/2" 164 Series,Sundries & Materials | 110.0000,715.0000,390.0000,0.0000,101.0000,89.4000,20.7200 | 1568.73
SIL-1309700R | HA180411871 | 30/06/2024 3:29:54 PM | 2 DOOR FRIDGE | Kruger Village Cellars | Travelled to site and found unit out on err alarm Found filters blocked Serviced reset and ran and tested. Found unit running short of gas and leaking in evaporator will need to be replaced. Removed unit to workshop and removed faulty evaporator and drier and replaced. Nitrogen tested and serviced unit. O.K. Evacuated and gas charged system. Ran and tested. Returned unit to site and reinstalled. O.K. | Labour,Travel Time,EVAP COIL,Consumables,Access Valve,Nitrogen,Tolls,Solder/Oxy,Drier,Gas,Call Out,Labour | 675.0000,45.0000,0.0000,15.0000,15.0000,15.0000,20.0000,28.0000,38.0000,88.0000,90.0000,90.0000 | 1230.9
SIL-1296128R | A230215772 | 14/06/2024 5:46:49 PM | 2 DR HORIZONTAL FREEZER REMOTE ss | The Tradies | 23/05/2024 System short of refrigerant Leak test and find the coil riddled with leaks New coil required. 29/5/2024 Return to site Replace customer supplied evaporator coil Supply and install access valves and replace liquid line drier Evacuate and charge system with refrigerant Run and test all okay | Call Out,Labour,evap coil,Leak testing/sundries,Refco Schrader,Line Drier,Oxy and Solder,Oil Charge/Vac Pump,R134A | 110.0000,660.0000,0.0000,53.7500,29.0000,55.6900,57.6500,47.3500,88.0000 | 1211.6
SIL-1215815R | A211115374 | 11/06/2024 10:13:09 AM | CC300 / CC275 | Boardwalk Tavern | Travelled to site and found unit running short of gas. Leak tested and found leaking in evaporator. Topped up gas charge so customer could use cabinet till new evaporator arrived. Ran and tested. Return to site and removed unit from cabinet return to workshop installed access valve and pressure test unit leak tested and found evaporator coil leaking removed panels and fan to enable coil change Travelled to site and removed cyclone unit to workshop. Reclaimed gas from system and removed faulty evaporator. Replaced and replaced drier. Nitrogen tested and serviced cabinet. Evacuated and gas charged and ran and tested. Returned unit to site and reinstalled. Ran and tested. O.K. | Labour,Travel Time,CLS9902REC - evap,Consumables,Nitrogen,Solder/Oxy,Drier,Gas,Access Valve,Call Out,Labour,Labour,Travel Time | 405.0000,90.0000,0.0000,10.0000,15.0000,28.0000,38.0000,88.0000,15.0000,90.0000,90.0000,135.0000,90.0000 | 1203.4
SIL-1289592R | A230316544 | 6/06/2024 1:31:44 PM | TMF1500N-A | Tea Garden Fish Market | Travelled with 2nd tech 1hr to and from regional site (100kms each way). Removed and replaced middle door and wired in anti-sweat heaters. Took old door to waste disposal centre. | Labour,Travel Time,RHS DOOR,Disposal fees | 425.0000,340.0000,0.0000,100.0000 | 951.5
SIL-1287376R | HA231118194 | 14/06/2024 3:47:24 PM | ActiveCore BME1200N-A 2 door Refrigerator | The Point Tavern | Attend and diagnosed faulty controller and control sensor. Ordered parts. Returned and disassembled unit to replace control probe and controller. Set parameters as per specs for unit using APP. Tested and ran unit and ensured Bluetooth connectivity working. | Call Out,Labour,CONTROLLER.,CONTROL PROBE | 165.0000,495.0000,0.0000,0.0000 | 726
BDD-1304863R | A191217024 | 21/06/2024 8:52:53 AM | 3 DOOR | Palo Cafe drive thru coffee | On arrival found lights not working Checked and found ballast and LEd lights need replacement X 3 lights need replacement Pick up ballast and lights from workshop. Arrive on site, remove faulty components and replace with new ones. Check wiring. Replaced damaged connections. Turn on and all lights are now working. All okay. | Labour,Travel Distance,Travel Time,ELZ11876,ELL11799,Freight :,Call Out,Labour | 95.0000,0.0000,52.5000,101.3200,220.6200,17.2700,85.0000,95.0000 | 675.63